## Slide 1
Interconnection with GB
Ireland’s Energy Security in the Context of Brexit
and the Renewable Energy Transition
Simon Ludlam, Project Director of Greenlink Interconnector, Element Power
15 March 2018

## Slide 2: Irish – GB interconnection
A growing economy and increasing renewable energy mix requires further interconnection
Moyle 450MW
EWIC 500MW
Greenlink 500MW
Ireland (SEM) has two interconnectors
Moyle (2001)
EWIC (2012)
Greenlink will add a further 500MW by 2023
Interconnectors with GB exhibit bi-directional flow
Import cheaper power from GB
Export power at periods of high wind
Further interconnection is required
Security of supply – 65% renewables by 2030
Huge export potential of surplus wind and solar

## Slide 3: Irish Interconnector flows
Irish interconnectors are already strong exporters of power
Chart: Half-hourly Interconnector flows January and February 2018
IFA and Britned Importing to GB
EWIC Moyle 2 way flows
Import to UK
Export to Ireland
Source Elexon
(MW)

## Slide 4: Ramping rates
Slow ramping rates materially reduce economic impact of Irish interconnection
Illustrative Interconnection flows over 26 and 27 February 2018
Chart: 
IFA capable of
fast ramping 4GW
EWIC constrained to 5MW/min
Import to UK
Export to Ireland
(MW)

## Slide 5
Greenlink is Ireland’s next interconnector
TECHNICAL PARAMETERS
500MW
HVDC ±320kV - single symmetrical monopole
CABLE ROUTE
Great Island sub station - County Wexford
Pembroke sub station – Wales
PROJECT TIMING
Regulatory finalisation in 2H 2019
Construction 2020 - 2023
Voltage Source Convertors
~170km of HVDC land and marine cable and ~1km of HVAC
Project overview

## Slide 6
Greenlink has made material progress to meet its development goals – subject to CRU approval the project can advance to the construction phase
Greenlink project status
GRID CONNECTION
500MW agreed with National Grid
PLANNING
PCI status with Welsh Assembly
REGULATION
Cap & Floor regime agreed with Ofgem
GRID CONNECTION
500MW application with Eirgrid
PLANNING
PCI status with An Bord Pleanála
REGULATION
Developing Cap & Floor regulation with CRU
Construction & Commissioning
2020-2023







## Slide 7: Cap and floor
Cap and Floor regulation has limited recourse to consumers – private capital takes first loss
Development/Construction
Operation
5 10 15 20 25 yrs.
Ex-ante C&F levels
RAV model
Fixed 25 years
Guaranteed return - Floor
Opex
Capex > depreciation
Payment from Consumers to IC via TSO
Payment from IC to Consumers via TSO
Income received by I/C operator
CAP
FLOOR
I/C revenues
Revenues
Source Ofgem

## Slide 8
Greenlink acts as an export route for surplus Irish low carbon power
Greenlink power flows
Greenlink improves integration of Irish wind by reducing curtailment through 2047 by 5,500 GWh(a)
This allows wind to capture a higher price in GB. This value flows through to Irish consumers saving them over €800m(b)(c)
In comparison Continental interconnection would be predominantly a one-way flow into Ireland.
Sum of avoided curtailment between 2023-2047
NPV@3.5%, real 2017 €
Source: Baringa 2017, Greenlink CBA analysis Reference Case
Chart: Greenlink Flows(c)
| 2025 | 2045
SEM importing from GB | 0.95643 | 2.2544
SEM exporting to GB | 1.2984 | 0.99779
Exporting excess Irish low carbon power - reducing curtailment
TWh/year
GREENLINK 500MW
170km €400m 2023
CELTIC
700MW
600km €1.0bn
2025
IFA 2000MW
1986

## Slide 9
Post Brexit the UK remains a natural stepping stone to connect to Europe’s energy markets
Brexit And power trading
In the event of a hard Brexit
UK and EU are both WTO members
No tariffs on the trading of interconnector capacity
ISEM prevails
UK continues to support Greenlink
PCI status
Proactive and coordinated approach with CRU
UK is the third largest generator in Europe
UK 338.6 TWh cf. Ireland 30.4 TWh
A natural link to Europe that avoids excessive capex and line losses
Forecast 12.2GW of interconnector capacity with continental Europe and Scandinavia
2.8GW
9.4GW
1.5GW(a)
(a) Include Greenlink

## Slide 10: Greenlink inward investment
A privately sponsored project – limited recourse to consumers
215MW of wind energy delivered in Ireland - €380m investment
1.5GW being developed in Europe
Greenlink
Element Power develops, builds and operates projects in UK, Ireland, Sweden, Finland and the Americas
Maali
~€150m equity investment – non recourse to consumers, shareholder risk
~€250m debt supported by cap & floor – limited recourse to Irish & UK consumers
Development capital match funded by CEF
Power Projects
Interconnection
Asset Management

## Slide 11
Greenlink is a cost-efficient source of future interconnection for Ireland
Greenlink Irish benefits
Enough to power 10 new large data centres
250 Irish jobs during construction
€400m of private capital
for Ireland and Wales
20 permanent Irish jobs
Potential to power 380,000 homes
Savings to consumers of over €800m over life

## Slide 12
The sole responsibility of this publication lies with the author. The European Union is not responsible for any use that may be made of the information contained therein.